Code No. 411152

OR

IV-B.Tech I-Semester-Supplementary Examinations May 2003

BIOMEDICAL EQUIPMENT-II

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1. a)	Explain as to how the imaging of the interiors of the body helps in better diagnosis of a disease?

b)	Explain why ultrasound is more and more recommended for foetus monitoring.

2. a)	By drawing the functional diagram, explain an audiometer.

b)	What do you mean by masking here?

3. a)	What do you mean by hearing impaired?

b)	What is an hearing aid?

c)	How are hearing aid rehabilitates hearing impaired person?

4. a)	What is the difference between organ transplantation and artificial organs?

b)	What is biocompatibility with regard to the internal fixation of artificial organ.

5. a)	What are the Qualitative requirement for a mechanical heart valve.

b)	Explain a scheme of Star-Edward Prosthetic heart valve.

6. a)	Explain the testing of Prosthetic heart valve using a pulse duplicator?

b)	Explain an lower artificial limb prosthesis?

7. a)	What do we mean by Kidney failure?

b)	What is the process of dialysis?

8. a)	What is an Electronic Artificial Larynx. Give the schematic and explain.

b)	Write about artificial speech.

###