Code No: 411153

OR

IV - B.Tech. I Semester Supplementary Examinations, May 2003

MEDICAL IMAGE TECHNIQUES

(Bio Medical Engineering)

Time: 3 hours.							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.a)	Define the following terms with reference to X rays.

i)  System transfer function.    	ii) Time spread function.

iii) Point spread function.		iv) Spartial resolution.

b)	Explain the process ‘Compton Scattering’ in X-ray production.  Indicate the two major problems caused by compton scattering,

2a)	With the necessary mathematical expressions, explain the process of back projection algorithm used in X-ray computed tomography.

b)	What are the factors which affect the attenuation co-efficient of an X-ray beam?

3.a)	Explain the significance of time gain compensation and logarithmic compression in ultrasound scanners.

b)	Explain how dual energy subtraction procedure is able to solve the problem of artifacts due to patient motion.

4.a)	Explain the process of generation of ultrasound waves using

i)  Natural crystals			ii)  Popularized ferroelectrics.

b)	Explain the working of  ultrasound  blood flow meter based on Doppler principle.

5.a)	Calculate the distance a 1MHz ultrasound will travel before its intensity drops to one half its incident  value for i) air       ii) Aluminium  iii) Blood

b)	Explain the principle behind single photon emission computed tomography.  Bring out the differences between X-ray CT and SPECT techniques.

6.a)	What is the principle of operation on which positron emission tomography is based?  How does it compare with the SPECT technique?

b)	List the factors and explain how they affect the spatial resolution, detection efficiency and deadtime of a ‘scintillation’ camera system used in nuclear medicine imaging.

7.a)	Explain the following terms with reference to MRI.

i)   Inversion recovery	            ii) Spin echo  iii)  Relaxation times T1  and T2.

iv) Free induction decay signal.

b)	With a block diagram explain the magnetic resource signal detections systems.

8.a)	Define the process of precession.

b)	What is meant by process ‘nutation’?

c)	Explain the process of spin echo imaging in M.R.I.

&&&&&