Code No.210155 OR

#### II-B.Tech. I-Semester Examination Nov/Dec 2002

# BUILDING MATERIALS AND CONSTRUCTIONS

(Civil Engineering)

## Time:3 hours								Max.Marks:70

Note:-     1.  Answer any FIVE questions selection a minimum of TWO questions                            from each part.

2.  All questions carry equal Marks

---

### PART-A

1.a)	Discuss the points to be taken care of to increase the life of a stone structure.

- Discuss the significance of  “Natural Bed” in the case of stone masonry for walls, arches and for cornices.

- Discuss the characteristics of marble stone as a building material.

2.a)	What are the qualities of a good brick?

- Draw a neat sketch of a Bull’s Trench Kiln and explain its working.

3.a)	Discuss the various types of defects in timber through neat sketches.

b)	Explain what is workability of concrete. Explain any one laboratory test to determine it.

- Write short notes on Hard Board.

4.a)	What is the difference between Tar and Bitumen?

- List out various types of glass that are used in buildings.

- Discuss thermal insulation of buildings.

- What is  “Stack effect” with reference to ventilation in buildings?

### PART-B

5.a)	Explain the difference between English bond and Flemish bond in a 1½ brick wall with the help of sketches of even and odd courses.

- What is masonry?

- Why are the bricks to be soaked in water for 24 hours before use in masonry construction?

6.a)	Draw a neat sketch of a “Lean-to-roof” with approximate dimensions, mentioning the approximate sizes of various members.

- What is the purpose of king-post in a king-post truss?

- Comment on the statement, “With the help of a truss, the total weight of the roof is carried onto the walls vertically”. Explain.

(contd…2)

Code No.210155			-2-			OR

7.a)	Discuss the general defects which may cause failure in the plaster surfaces.

b)	What are the essential constituents of a paint? What are the functions performed by these constituents?

8.	Draw a sketch showing the typical timber scaffolding for a brick layer. Give the names of various members.

***	***	***