Code No.:210252

OR

II/IV B.Tech. I-Semester Examination November/December, 2002.

ELECTRICAL CIRCUITS - I

(Electrical and Electronics Engineering)

Time: 3 hours								          Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Find i(t):

b)	Find Vo(t):

2.a)	Determine the phasors E2, E0, I, I1.

- Define resonance.  Explain series resonance and its characteristic properties.  Derive formulae for Q factor and band width of a series resonant circuit.

Contd….2

Code No.:210252				-2-					OR

3.a)	Plot the locus of the current vector as C is varied:

b)

Find equivalent resistance as seen into terminals A and B.

4.a)	A series RLC circuit with R= 1, L=1mH, C= 100f is supplied with a current whose waveform is as follows: Sketch the waveforms of voltages across R, L and C for t=0 to 2 ms:

i ( t)

- A series RLC circuit has resonance frequency of 104 rad/s and bandwidth 500 rad/s.  Supply voltage is Vs = 0.5V which produces a current of 50 mA at resonance.  Determine the values of the elements and voltage across L at resonance.

5.a)	Explain (i) addition of vector quantities (ii) multiplication of vector quantities  and (iii) conversion between polar and rectangular forms.

- Find the final value of i2 by using final value theorem:

Contd….3

Code No.:210252				-3-					OR	6.a)	Find the Laplace Transform of the following waveform:

- Find the current i(t) in a network whose impedance is

S2+4S+3

Z(s) =  -------------

S(S2+6S+8)

When a voltage (t) =e-5t u(t) –e-5(t-1) u(t-1) is applied to it.

7.a)	Define average, peak and rms values and form factor of a periodic waveform.  Find these values for the waveform of Q6(a).

- Define R, L and C parameters of a circuit.  Also define mutual inductance and explain the importance of dot convention.

8.a)	Explain ohm’s law, KVL, KCL.

- Explain Locus Diagrams.

- - -