Code No. 211103

## Set No

1

II/IV B.Tech. I Semester Examination November/December 2002

BIO-ELECTRICITY AND ELECTRODES

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

# Answer any Five questions

All questions carry equal marks

---

1.	Highlighting the differences explain the differences between the propagation of impulses in unmyelinated and myelinated nerve fiber.  Give necessary examples.

2.  a)	Giving examples, discuss the electrical properties of receptors

- What do you mean by electrical properties of synaptic junctions?  Differentiate between EPSP and IPSP?

3.  a)	Drawing Einthovens triangle, explain the electrical activity of the heart

- What do you mean by Augmented limb leads?

4.  a)	What is a inhomogeneous media with regard to volume conductor fields.

- Give an elementary treatment of integral equations with regard to volume conductors.

5.  a)	Explain a case for electrode-electrolyte interface

- Also explain in what ways the study of electrode-electrolyte interface helps in understanding the volume conductor fields?

6.  a)	Explain using the necessary waveform as to how surface electrodes are used to get the Electro Myo Gram

- Interpret the EMG as a case of Neuromuscular transmission waveform?

7.  a)	What do you mean by gradation of muscular activity?  Explain.

b)	What is the chemical significance of fatigue Explain.

8.  a)	Draw a simple schematic showing the output as Electro Encephalon Gram and the input taken from the scalp electrodes?

- How tissue resistance helps in understanding the bioelectric phenomena.

@@@@@

Code No. 211103

## Set No

2

II/IV B.Tech. I Semester Examination November/December 2002

BIO-ELECTRICITY AND ELECTRODES

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

# Answer any Five questions

All questions carry equal marks

---

1.  a)	Using an neat illustration, explain the electrical equivalent circuit of an axon?

- What are the information derived regarding the motor cell from the above equivalent circuit.

2.  a)	Explain Hodgkin-Huxley formulation from the point of membrane time and space constants

- Explain Intensity-frequency relationships with regard to an impulse?

3.	Explain the characteristics of action potentials at the following:

  - SA Node

  - Atria

  - AV Node

&

  - Purkinje fibers

4.	Explain the detail the procedure adopted to compute the solid Angle?  What are its application to volume conductor field.

5.  a)	Drawing their equivalent circuits neatly explain the properties of Needle electrode and micro electrode?

- Give two applications of the above two electrodes?

6.  a)	What are motor unit potentials?

- How the motor unit potentials are helpful in neuromuscular transmission

7.  a)	Explain as to how you can relate motor unit potentials to the electrical activity of skeletal muscles?

- What do you mean by gradation of muscular activity.

8.  a)	Explain any two important applications of bioelectric phenomena.

b)	Give a scheme for the measurement of tissue resistance.

@@@@@

Code No. 211103

## Set No

3

II/IV B.Tech. I Semester Examination November/December 2002

BIO-ELECTRICITY AND ELECTRODES

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

# Answer any Five questions

All questions carry equal marks

---

1.  a)	Explain what do you mean by membrane conductance?

- Explain any model of squid axon.

2.  	Explain in detail the nerve conduction membrane properties from current-voltage relations in detail.

3.  a)	Explain the conduction system of the Heart with a neat sketch?

b)	What do you mean by pericardial leads.  Give their importance.

4.  a)	Taking the case of infinite cylindrical axon, explain the Volume conductor fields there in.

- Discuss a core conductor model.

5.  a)	What do you mean by unipolar and bipolar leads.

- Why a study of above two type of leads is helpful in understanding the electrical activity of the heart.

6.  a)	What do you mean by the process of neuromuscular transmission.  Explain.

- Draw and explain the EMG waveform.

7.  a)	Explain using the necessary waveform as to how needle electrodes are used to get the EMG

- What is a synapse?  How it helps in neuromuscular transmission

8.  a)	What are the forward problems associated with bioelectric phenomena?

- What do you mean by EEG.  What is REM?

@@@@@

Code No. 211103

## Set No

4

II/IV B.Tech. I Semester Examination November/December 2002

BIO-ELECTRICITY AND ELECTRODES

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

# Answer any Five questions

All questions carry equal marks

---

1.  a)	Mention Nernst Equation and highlight its importance with regard to bio-electricity.

- What is the refractory period of an stimulus?  What are the types of refractory periods?

2.  a)	What do you mean by strength-duration relations of an electric stimulus?

- Also describe as to which are the factors that effect the above relationships?

3.  a)	Explain regarding the standard leads of Einthoven?

- What is the relationship between unipolar extremity leads and standard bipolar leads?

4.  a)	What are the bioelectric sources of volume conductor fields?  Explain?

- What do you mean by volume-conductor formulations?  What are their applications?

5.  a)	Explain as to how and what type of electrodes are used for surgery.

- Given proper examples, (two each) explain physiotherapy and analytical Instruments.

6.  a)	What do you mean by electrical activity of skeletal muscles?

- What are motor unit potentials? Explain

7.  a)	Explain velocity of neuromuscular signals and also their changes in normal and abnormal states.

- What is the chemical significance of conduction? Explain?

8.  a)	Explain Impedance Plethysmography?

- What are the methods of measuring the tissue resistance?

@@@@@