### Code No.311002

Set No.

1

III/IV B.Tech. I-Semester Examination November 2002

ELECTRONIC EQUIPMENT DESIGN

(Electrical and Instrumentation Engineering)

### Time: 3 hours							          Max.Marks:80

## Answer any Five questions

## All questions carry equal Marks

---

1.a)	Discuss briefly the various methods used to test the final design.

- Discuss briefly the various RAID levels with respect to reliability.

2.	What are the factors to be taken into consideration while the instruments in the control panel are designed.

3.a)	Explain the function of various controls on the front panel of CRO.

- What is the specialty of a storage oscilloscope?

4.	Draw the diagram of a Xerox machine.  Explain its constructional details and working.

5.	Explain the reflections problems in

- TTL integrated circuits.

- C-MOS integrated circuits.

6.a)	Briefly discuss different trends in etching machine designs.

b)	Briefly compare the different Etchants.

7.a)	Draw the schematic diagram for the measurement of torque.

b)	Mention names of various senses (Transducer) used in the measurement of torque and explain briefly about the working principle.

8.a)	What is the transducer used in the measurement of humidity, explain the working principle and methods to caliburate.

b)	Explain the effect humidity on electrical conductivity briefly with the help of example.

***	***	***

### Code No.311002

Set No.

2

III/IV B.Tech. I-Semester Examination November 2002

ELECTRONIC EQUIPMENT DESIGN

(Electrical and Instrumentation Engineering)

### Time: 3 hours							          Max.Marks:80

## Answer any Five questions

## All questions carry equal Marks

---

1.a)	What do you mean by MTTF, MTBF and Mean life.

b)	Derive the interrelationships between the above terms.

2.	Discuss in detail the advantages and disadvantages of the use of colour in display design.

3.a)	Explain how a CRO can be used for frequency measurement.

b)	Explain the principle of operation of a dual beam CRO.

4.a)	With a neat circuit diagram explain the operation of an Electronic relay.

b)	Discuss one industrial application of it.

5.	Write about PCB layout check related

- General consideration

- Mechanical consideration

- Electrical consideration

6.	Explain about Chromic acid etching and the safety steps taken during the process of etching.

7.a)	Explain the arrangement of various components invalued in deriving the standard time base in the implementation of frequency conter.

b)	Show the internal organization of various blocks of frequency conter to measure

i)  Frequency		(ii)  Period

8.a)	Derive the construction of a Psychrometers explain the principle of working and application in the measurement of moisture.

b)	Explain the difference between absolute humidity and relative humidity and methods to calibrate humidity measurement meters.

***	***	***

### Code No.311002

Set No.

3

III/IV B.Tech. I-Semester Examination November 2002

ELECTRONIC EQUIPMENT DESIGN

(Electrical and Instrumentation Engineering)

### Time: 3 hours							          Max.Marks:80

## Answer any Five questions

## All questions carry equal Marks

---

1.a)	What is bathtub distribution?  Discuss in detail.

b)	Derive the relationship between availability and MDT.

c)	State the relationship between repair rate and MTTR.

2.	What are the economic and technical feasibility issues to be considered when one goes for a systematic product design?

3.a)	Explain the constructional details of a FET voltmeter.

b)	Explain any two applications of FET voltmeter.

4.a)	Explain the design of a negative regulator using type 723 device.

b)	What are dual tracking regulators.

5.a)	Write about component placing and mounting in PCB.

b)	Explain about cooling requirements and packaged density related to PCB.

6.	Briefly discuss about cupric chloride and explain how, cupric chloride is used is etching operation.

7.a)	Explain the principle of pize electric transducer and give the scheme to utilize it in the vibration measurement.

b)	What are the limitations of pize electric transdurs with respect to frequency response what parameter come in to picture.

8.a)	What is the effect of humidity on dielectric court of an insularity medium explain with scientific reason.

b)	How is humidity measurement is important in certain industrial applications and what methods are used to control the same.

***	***	***

### Code No.311002

Set No.

4

III/IV B.Tech. I-Semester Examination November 2002

ELECTRONIC EQUIPMENT DESIGN

(Electrical and Instrumentation Engineering)

### Time: 3 hours							          Max.Marks:80

## Answer any Five questions

## All questions carry equal Marks

---

- Give a short note on series system.

a)	Explain system reliability Vs component reliability curve.

b)	Explain the effect on the series system when the reliability of the individual components are increased.

c)	Explain the reliability of system with n statistically independent and identical components arranged reliability wise in series.

- What are the factors to be taken into account while displays and controls are combined?

- Explain in detail the constructional features and the principle of operation of single beam CRO.

4.a)	List the different classes of photocopying processes.

b)	Explain any three photocopying processes.

5.	Explain about signal conductor layout for

- High frequency amplifiers/Oscillators.

- Precision differential amplifiers.

6.a)	Explain Etching with closed-loop regeneration.

b)	What are the steps taken to minimizing pollution during the Etching Process.

7.a)	What is the difference between force measurement and torque measurement explain with the help of neat sketches.

b)	What is the role of a mechanical elements with measurement of torque and show methods to measure the same indirectly by electrical means.

8.a)	How is humidity is helpful in cooling certain environment give relevant reasons.

b)	What is the comfortable level of relative humidity in the following environments

- Residential areas	(ii)  Textile mills  (cotton)	(iii)  Poultry farms

Justify your answer with proper reasons.

***	***	***