#### Code No: 311156

III/IV B.Tech.(I-Semester) Examination. Nov, 2002

# OR

#### BIOLOGICAL CONTROL SYSTEMS

(Bio-Medical Engineering)

Time: 3 hours.									Max.Marks:70

Answer any FIVE questions

All questions carry equal marks

***

1.a)	Explain the importance of modelling.  Distinguish between linear and nonlinear models.

b)	Draw the characteristics of a 2nd order system to a step input and explain the terms:	(i)  Rise time	and 	(ii)  Settling time

2.a)	Explain Ruth Huruitz criteria.

- Using the above criteria, determine the stability of the closed loop system that has the following characteristic equation:

F(S) = 4S4 + 10S3 + 5S2 + 5S + 10 = 0

3.	The open loop transfer function of a units feedback control system is given by:

G(S) =            k (S+4)

S(S2 + 4S + 4) (S+5) (S+6)

Construct the complete Root locus diagram and find the values of k for which the system is stable.

4.a)	Draw the three compartment model of human thermos regulatory system and explain.

- Sketch the performance characteristic curves.

5.a)	Explain the skeletal servo mechanism.

- Explain how the posture is controlled using free swinging limbs.

6.a)	Explain the purpose and location of the different types of receptors present in the human body.

- Draw the receptor characteristics.

7.a)	Explain the terms adaptation and Rate sensitivity.

- Obtain the transfer function of the Mechans receptor due to Chapman and Smith.

8.	Write short notes on any Two:

- Nyquist diagram	(b)  Saccadc movement of eye	(c)  Error constants

***	***	***