# Code.No.311155

# OR

III/IV B.Tech. I-Semester Examination November 2002

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical  Engineering)

Time: 3 hours							Max.Marks:70

Answer any Five questions

All questions carry equal Marks

---

1.a)	Explain in detail the factors influencing the choice and design of a transducer used for measuring physiological parameters.

- Calssify biotransducers and briefly explain about active and passive transducer.

2.a)	Explain the principle of operation and design considerations of a thermoresistive transducer used to measure body temperature.

- Mention the four laws of thermocouples and discuss the significance of each.

3.a)	Draw and explain resistance-temperature characteristic of a thermistor and explain the various methods of thermistor linearization.

- Write short notes on radiation thermometry.

4.a)	Describe the different types of potentiometers.

- Classify displacement transducers based on the operating principle.

- Explain the velocity measurement using the Doppler technique.

5.a)	Discuss the working principle of a strain guage.

- Describe the constructional details of bonded and unbonded strain gauges.

- Compare metallic and semiconductor strain gauges.

6.a)	Explain the working of an LVDT.

- Discuss in detail, any one medical application of LVDT.

- Draw and explain the block diagram of a phase sensitive detector.

7.a)	Compare direct and indirect B.P.measurement.

- Describe B.P.measurement based on Korotkoff sounds.

- List the normal range of blood pressures at various sites of the cardiovascular system.

8.a)	Discuss the need for radio telemetry in the transmission of biological data.

b)	Draw the circuits of integrator, differentiator and a logarithmic amplifier using op-amps and derive the expressions for the output voltage.

***	***	***