Code No. 311153 ## OR

III/IV B.Tech. I-Semester Examination November, 2002.

# BASIC CLINICAL SCIENCE - I

(Bio-Medical Engineering) - OR

Time: 3 hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain in detail the principle of a dialyser in detail.

- List out the indications and contraindications of hemodialysis and peritoneal dialysis.

- Differentiate extra corporeal and intracorporeal dialysis.

2.a)	Write short notes on renal transplantation.

- Explain the significance of the composition of the dialysate.

- Give the principles of operation of any two types of dialysers.

3.a)	Explain the principle and applications of pneumo-encephalography.

- How is the motor nerve conduction velocity measured?  Give the experimental set-up.

4.a)	Discuss the principles of different types of oxygenators.

- Explain the qualitative requirements of a heart-lung machine.

5.a)	Explain the conduction system of the heart, with a neat sketch.

- Discuss the features and application of CVP & SWAN catheters.

6.a)	What are synchronous pacemakers?  Explain any one type of synchronous pacemaker.

- List out the indications and contraindications of cardiac pacing.

7.a)	What is fibrillation?  How is it treated?

- Explain the working of a DC-degibrillator.

- Write short notes on implantable defibrillators.

8.a)	Explain the principle of an electro-surgical unit.

- Discuss the technique of laparoscopy in various surgeries.

- - -