### Code No.311053

OR

III/IV B.Tech. I-Semester Examination November 2002

ELECTRONIC EQUIPMENT DESIGN

(Electrical and Instrumentation Engineering-OR)

### Time: 3 hours							          Max.Marks:70

## Answer any Five questions

## All questions carry equal Marks

---

1.a)	Discuss briefly the various methods used to test the final design.

- Discuss briefly the various RAID levels with respect to reliability.

2.	What are the factors to be taken into consideration while the instruments in the control panel are designed.

3.a)	Explain the function of various controls on the front panel of CRO.

- What is the specialty of a storage oscilloscope?

4.	Draw the diagram of a Xerox machine.  Explain its constructional details and working.

5.	Explain the reflections problems in

- TTL integrated circuits.

- C-MOS integrated circuits.

6.a)	Briefly discuss different trends in etching machine designs.

b)	Briefly compare the different Etchants.

7.a)	Draw the schematic diagram for the measurement of torque.

b)	Mention names of various senses (Transducer) used in the measurement of torque and explain briefly about the working principle.

8.a)	What is the transducer used in the measurement of humidity, explain the working principle and methods to caliburate.

b)	Explain the effect humidity on electrical conductivity briefly with the help of example.

***	***	***