Code No. 310351

III/IV B.Tech. I-Semester Examination November, 2002. ## OR

# THERMAL ENGINEERING - II

(Common to Mechanical Engineering, Production Engineering, Manufacturing Engineering  ) – OR

Mechanical Engineering - OOR

Time: 3 hours							   Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain the term ‘Self Regulation’.

- Explain with neat diagrams, a process with self regulation and a process without self regulation.

2.a)	Which is called ‘anticipatory control’?  Can it be implemented individually in a process?  Justify your answer.

- Choose the best control modes for the following processes.  Explain the reasons for your selection.  (i) Temperature process  (ii) Flow process.

3.a)	What are the two basic types of flow meters?  Explain the basis for the classification.

- Explain the working principle of one flow meter for each type.

4.a)	What are Hydraulic Controllers?  How they are different from other types of controllers?

- Explain the construction of PI controller if designed with the following powers (i) Hydraulic  (ii) Pneumatic.

5.	Under what situations will you prefer the following?  (i) Cascade Control

(ii) Feed Forward Control.  Give one example for each and explain.

6.a)	Explain the various Flow-Lift characteristics of sliding stem valves.

- Explain the procedure for selection of control valve size.

7.	What are the important control loops in a boiler control?  Explain any two in detail with neat diagrams.

8.	Give an account of various control schemes for a heat exchanger consisting of steam as the heating fluid and air as the heated fluid.

- - -