Code No: 311105

Set No.

1

III/IV B.Tech.(I-Semester) Examination. Nov, 2002

BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours.									Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

***

1 a)	Discuss the electrodes used in ECG measurement

- Explain with a schematic the principle of operation of flame photometer

2 a)	Explain the direct method of blood pressure measurement

- What are the special problems that occur in EEG Ambulatory monitors. How are they eliminated

3 a)	Give the classification of pacemakers? Explain the principle of operation of on demand External pacemaker

b)	What are the different safety measurements to be taken while using a defibrillator

4 a)	Discuss the applications of ultronic therapy

- Explain the operation of Bladder stimulator

5 a)	With a neat schematic explain the short ware diathermy unit. List its advantages

- Explain the electronic neuro stimulator

6 a)	List the different risks associated with electro surgery. What are the steps taken to reduce the risk

b)	Give the classification of ventilators.  Explain in brief anyone

7 a)	With a neat block diagram explain the inkjet recorder

- Write a note on patient isolation

8 a)	With necessary sketch explain how leakage current can be reduced in electro medical equipments

b)	List the different precautions to be taken to prevent hazardous situations in an hospital

Code No: 311105

Set No.

2

III/IV B.Tech.(I-Semester) Examination. Nov, 2002

BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours.									Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

***

1 a)	What is TMT?  How is it helpful in diagnosing different heart diseases

- What is electrophoresis?  Discuss its importance in Biomedical Technology

2 a)	What are the different measurements possible using a blood gas analyzer.  Explain a blood gas analyzer

- With a neat schematic explain the conductivity meter

3 a)	Name the instrument used for monitoring foetal heatr rate.  Explain any one method	 of monitoring the foetal heart rate

- What is apnoea?  With a neat block diagram explain the apnoea monitor

4 a)	What is arrhythmia?  Explain the basic arrhythmia monitoring instrument

- Write a note on incubalators

5 a)	With a neat block diagram explain the AC Defibrillator.  List its advantages and disadvantages

- Differenciate between synchronous and Asynchronous types of pacemakers

6 a)	What is a Heart Lung machine?  Explain

- With a neat schematic explain the short wave diathermy unit. List its advantages?

7 a)	With a neat schematic explain the surgical microscope

- Write a brief note on OT table

8 a)	With a neat block diagram explain the photo graphic recorder

- What are the different types of leakage currents.  Explain in brief how they can be eliminated

Code No: 311105

Set No.

3

IIIIV B.Tech.(I-Semester) Examination. Nov, 2002

BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours.									Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

***

1 a)	What is EMG?  Explain with a neat block diagram the EMG Recorder

- With a neat Schematic explain a single beam spectrophotometer

2 a)	What are ambulatory monitors?  Explain with a neat block diagram the ambulatory monitor used for ECG Recorder

- What are the problems encountered during direct method of blood pressure measurement

3 a)	Give the classification of Implantable pacemaker.  Explain any one type of Implantable pacemaker

- What is Fibrillation? Explain with a neat schematic the dc defibrilator

4 a)	With a neat schematic explain the thin film blood origenator

b)	Write a note on humidifiers

5 a)	Explain the production of microwave

- With a neat schematic explain the microwave diathermy unit

6 a)	Discuss the Hazards in operating room and the techniques to eleminate them

- With a neat schematic explain the Anesthetic delivery system

7 a)	With a neat schematic explain the thermal recorder

- With a note on the display devices used for Biomedical signals

8 a)	What are the different types of electric shocks explain any one type in brief

b)	What are neulilizers.  Discuss its applications

Code No: 311105

Set No.

4

III/IV B.Tech.(I-Semester) Examination. Nov, 2002

BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours.									Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

***

1 a)	With a neat block diagram explain an EEG Machine?

- With a neat schematic explain the operation of a pH meter?

2 a)	What are the different techniques used for cell counting.  Explain in brief any one technique?

- What is chromatography?  Discuss its application in medical field?

3 a)	Explain  the principle of blood pressure measurement based on korotkoff sounds?

- What are the problems encountered during direct blood pressure measurement?

4 a)	Explain the origin of heart sound.  Explain how it is measured using a phonocardiograph?

- Explain the basic arrhythmia monitoring instrument?

5 a)	With a neat block diagram explain the programmable pacemaker

- What are infusion pumps?  Discuss its application?

6 a)	Discuss the types of electrodes used in external and internal defibrillators? What are the safety measurements to be taken care while using them?

- With a neat schematic explain the microwave diathermy unit?

7 a)	List the different risks associated with electro surgery.  What are the steps taken to reduce them?

- Name the different types of ventilators.  Explain any one in brief.

8 a)	List the different precautions taken to prevent hazardous situations in an hospital

b)	With a neat block diagram explain the Dot recorder used in medical systems