Code No. 310204

III/IV B.Tech. I-Semester Examination November, 2002. ### Set No 1

POWER ELECTRONICS

(Electrical and Electronics Engineering)

Time: 3 hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain the various firing method with the help of neat circuit diagram for SCR when used in both AC and d.c. circuits.

- Discuss the various Voltage Ratings of SCR.

2.a)	Describe the working of single phase fully controlled bridge converter in the following two modes (a) rectifying mode  (b) inversion mode.

b)	Sketch the following waveforms of single phase fully controlled converter for firing angles 450 and 1200. (i) Load voltage and current waveforms (ii) Thyristor  voltage and current waveforms (iii) Supply voltage and current waveforms.

3.	Explain the  operation of single phase A.C. Voltage controller with Resistive and Resistive-inductive loads with the help of neat circuit diagram and output voltage and current waveforms.  Also sketch the transfer characteristics.

4.a)	Explain the need of commutation in thyristor circuits.  What are the different methods of commutation schemes? Explain class A commutation with neat diagrams.

b)	A circuit employing parallel resonance turn off (Class B commutation) circuit has C=50F L=20H V=200V and initial voltage across the capacitor is 200V.  Determine the circuit turnoff time for main thyristor for load R=1.5.

5.a)	For a single-phase bridge inverter the source voltage is 60V, load is a resistance of 1.2.  Determine the RMS value of 1st , 3rd & 5th harmonic o/p current, load power, average and peak current in each thyristor, PIV across thyristor and total harmonic distortion and distortion factor.

- What are the factors to be considered while selecting commutating elements in Inverters?

6.	Discuss the working of single phase midpoint cycloconverter when feeding R and RL loads with neat circuit diagram and relevant output waveforms.

7.a)	What is cycloconverter?  What are its limitations?

- Compare the operational features of single phase midpoint and bridge type cycloconverter for RL-loads with neat diagrams and waveforms.

8.a)	Give the comparison between non circulating current mode and circulating mode of operation of a dual converter.

- Derive the expression for peak value of the circulating current in a dual converter.

  - - -

# Code No. 310204

### Set No 2

III/IV B.Tech. I-Semester Examination November, 2002.

POWER ELECTRONICS

(Electrical and Electronics Engineering)

Time: 3 hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain the turn-on and turn-off methods for SCR, BJT and power MOSFET with neat waveforms.

- Discuss the various current ratings of SCR.

2.a)	For a 3-phase full converter, explain how output voltage wave, for a firing angle of 300, is obtained by using (i) phase voltages and (ii) line voltages.

b)	(i) A resistive load of 10 ohm is connected to a 3-phase full converter.  The load takes 5 kw for  a firing angle delay of 700. Find the magnitude of per phase input supply voltage.  (ii) Repeat part (1) in case an inductor connected in series with the load makes the load current constant.

3.	Explain the operation of single phase A.C. triac based circuit when controlling power to RL loads. Give the output voltage, current waveforms with neat circuit diagram.  Suggest the firing circuit for Triac.

4.a)	Distinguish clearly between voltage commutation and current commutation in thyristor circuits.

- Discuss how the voltage across the commutating capacitance is reserved in a commutating circuit.

- A circuit employing resonance pulse commutation has C=20F and L=3 H the initial capacitor voltage=source voltage, Vs=230V DC. Determine conduction time for auxiliary thyristor and circuit turnoff time for main thyristor in case constant load current is 300A.

5.a)	Explain briefly the commutation process in an auxiliary commutated inverter with waveforms.

- State the factors, which are going to affect the commutation interval in a McMurray-Bedford Inverter.

6.	Explain the working of single phase bridge type cycloconverter with RL load for (a) continuous conduction and for (b) discontinuous conduction with the help of neat circuit diagram & relevant output waveforms.

Contd….2

# Code No. 310204				-2-				Set No. 2

7.a)	Show that the effect of source inductance on the performance of single phase fully controlled converter is to present an equivalent resistance of Ls/ ohms in series with the internal rectifier voltage.

- a single phase fully controlled converter is supplied at 220V, 50Hz.  Determine the average load voltage for the following cases when the firing angle is 450 (i) purely resistive load.  (ii) R-L load in continuous conduction mode.

8.a)	What is time ratio control of chopper?  Explain the operation.

- A battery is charged from a constant dc source of 220V through a chopper.  The dc battery is to be charged from its internal emf of 90V to 122 V.  The battery has internal resistance 1. For a constant charging current of 10A.C compute the range of duty cycle.

- - -

Code No. 310204

III/IV B.Tech. I-Semester Examination November, 2002. ### Set No 3

POWER ELECTRONICS

(Electrical and Electronics Engineering)

Time: 3 hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain the necessity of smibber circuit for SCR and give its operation.

- Derive the expressions for smibber circuit parameters connected for SCR.

2.a)	Derive the expressions for active power infinite, reactive power infinite and infinite displacement factor of a single phase fully controlled bridge rectifier.

- Explain the effect of  freewheeling diode in detail.  Also, justify the statement “Freewheeling diode improves the power factor of the system”.

3.a)	Derive the expressions for the output  r.m..s. voltage, output rms current and output power for a single phase A.C. voltage controller when feeding power to R-load.

- For a single phase AC voltage controller with R-load, obtain Vorms, Iorms when supplied from 230V, 50 HZ 1- source and fixed at 650.

4.a)	Explain class C type of commutation used for thyristors with appropriate current and voltage waveforms.

- Explain the merits and demerits of self-commutation of SCR and its other methods of commutation.

5.a)	What is PSPICE?  Describe the features of the same and mention its applications.

- How a thyristor is modeled in SPLICE for A.C circuit operation draw its model circuit and represent its subscript representation.

6.a)	Explain the operation of single phase midpoint cycloconverter when feeding power to RL-loads with discontinuous current.

- Bringout advantages and disadvantages of cycloconverters.

7.a)	Explain the principle of working of a three plhase half controlled bridge rectifier supplying to a resistive load and hence derive the expressions for average load voltage in various modes of operation the circuit.

- A three plhase fully controlled bridge converter supplies a dc voltage source of 400V having an internal resistance of 1.8 ohm.  Assume highly inductive load with a constant load current of 20A.  The supply RMS load voltage per phase is 230V and source inductance in each phase is 0.005H.  Compute the following by ignoring the source resistance (i) firing angle for an output voltage of 436V  (ii) overlap angle.

Contd….2

# Code No. 310204				-2-				Set No.3

8.a)	Describe the principle of operation of a step down chopper.  Derive an expression for the average output voltage in terms of input dc voltage and duty cycle.

- A chopper circuit is operating on TRC principle at a frequency 1 KHz on a 220v dc supply.  If the load voltage is 180V, calculate the conducting and blocking period of thyristor in each cycle.

- - -

Code No. 310204

### Set No 4

III/IV B.Tech. I-Semester Examination November, 2002.

POWER ELECTRONICS

(Electrical and Electronics Engineering)

Time: 3 hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain the operation of series connected and parallel connected SCRs with neat circuit diagrams and their characteristics.

- Derive the static equalizing and dynamic equalizing circuit parameters with respect to series operation of SCR.

2.a)	Draw the circuit diagram of a single phase half controlled converter and derive the equation for average current in case of RL load and discontinuous conduction.

- Explain the effects of source inductance and freewheeling diode on the performance of converters.

3.a)	Derive the expressions for the power dissipated in the load, r.m.s. load voltage and current for a single phase AC voltage controller feeding Resistive-inductive load for discontinuous operation of current.

- Explain the operation of the above circuit for continuous current condition.

4.a)	With neat circuit diagram and waveforms explain the operation of a class D auxiliary commutation employed for thyristor circuits.

- Circuit employing class B commutation has C=20F and L=5H.  Initial voltage across capacitor is 230v.  For a constant load current of 250A.  Calculate (i) Conduction time for auxiliary SCR.  (ii) Voltage across the main SCR when it gets commutated.

5.a)	Draw the possible o/p current and voltage waveforms possible in a single phase bridge Inverter connected with R, R-L, R-C, R-L-C under/over damped circuits.  Mention whether forced commutation is required or not in each case.

- Explain the significance of dead zone in series Inverters.

6.a)	Explain why o/p voltage control is required in Inverters.

- Briefly list out the merits and demerits of any three types of voltage control technique used at the input of Inverter.

Contd….2

# Code No. 310204				-2-				Set No.4

7.a)	Describe in detail the operation of dual converter in non-circulating current mode.

- Two three phase full converters are connected in anti parallel to form a three phase dual converter of the circulating current type.  The input to the dual converter is 3 phase, 400V, 50Hz.  If the peak value of the circulating current is to be limited to 20A, find the value of inductance needed for the reactor for firing angle of 600.

8.a)	Describe the principle of step-up chopper.  Derive an expression for the average output voltage in terms of input dc voltage and duty cycle.

- A dc on-off chopper operting at 1 KHz and duty cycle of 10% is supplied from a 200V source.  If the load inductance is 10mH and the resistance is 10.  Compute the maximum and minimum current in the load.

- - -