# Code.No.411353

# OR

IV/IV B.Tech. I-Semester,Examination November 2002

LOGIC AND DISTRIBUTED CONTROL SYSTEMS

(Electronics and Control  Engineering)

time: 3 hours								Max.Marks:70

Answer any Five questions

All questions carry equal Marks

---

1.a)	Explain the PLC Architecture with neat diagram.

- Distinguish between Ladder logic diagram and Relay ladder diagram with the examples.

2.a)	Discuss the I/O Modules interface to PLC with optoisolator.

- Explain the conditions (limitations) of PLC programming with suitable examples.

3.	Explain the operation of

- SKIP function

- MCR function

4.	Explain :

- Connection diagram

- Screen pattern

- Relay ladder diagram

5.a)	Explain the on-delay timer with timing diagram.

- Discuss elaborately on pulse repetitive timer.

6.	Explain the PLC counter and timer operation in a single application.

7.	Explain the principles of open system interconnection (OSI) in PLC Network communications.

8.a)	Explain the function blocks of DCS continuous control with one single loop.

- Discuss the local control unit (LCU) architecture.

***	***	***