Code No.411102

Set No.

1

## IV/IV B.Tech. I-Semester Examination November 2002

## LASERS AND FIBER OPTICS IN MEDICINE

(Bio-Medical Engineering)

# Time: 3 hours						                      Max.Marks:80

Answer any Five questions

## All questions carry equal Marks

---

1.	Explain the various characteristics of lasers which make them suitable for medical applications.

2.	Discuss the applications of lasers in dermatology.

3.	Explain in detail the basic process involved in the generation of any Laser beam.

4.a)	Compare the characteristics of various lasers used in medicine.

- Briefly explain what is Laser Raman Spectroscopy.

5.a)	Explain the process of light transmission through an optical fiber.

- What are the differences between the optical fibers used for illumination and image transmission.

6.	Discuss the different types of lens systems used in the image transmission through an optical fiber.

7.	Compare the characteristics of different gas lasers.

8.	Describe the protective measures to be followed while using lasers in medicine.

***	***	***

Code No.411102

Set No.

2

## IV/IV B.Tech. I-Semester Examination November 2002

## LASERS AND FIBER OPTICS IN MEDICINE

(Bio-Medical Engineering)

# Time: 3 hours						                      Max.Marks:80

Answer any Five questions

## All questions carry equal Marks

---

1.	Discuss the various laser calibration techniques.

2.	Describe in detail the classification of lasers.

3.	Justify the use of lasers in ophthalmology.

4.	Explain the set up used and the process involved in the generation of Nd-YAG laser.

5.	Explain the special properties of optical fibers which make them suitable for medical applications.

6.	Clearly bring out the advantages of laser surgery over conventional surgery.

7.	Discuss in detail the possible hazards from the medical applications of lasers.

8.	Write short notes on:

- Laser applications in medical diagnosis

- Study of biomolecules using lasers

***	***	***

Code No.411102

Set No.

3

## IV/IV B.Tech. I-Semester Examination November 2002

## LASERS AND FIBER OPTICS IN MEDICINE

(Bio-Medical Engineering)

# Time: 3 hours						                      Max.Marks:80

Answer any Five questions

## All questions carry equal Marks

---

1.a)	Explain the interaction of the laser beam with the tissue.

b)	Discuss the principles by which the laser beam can be used for therapeutic purposes.

2.a)	Explain the conditions favourable for the production of a laser beam.

b)	Discuss the potential hazards of using lasers in medicine.

3.	Describe the constructional details of an differences between rigid and flexible endoscopes.

4.	Explain the components and the applications of a Gastroscope.

5.	Justify the application of lasers in surgery.

6.a)	Explain the potential applications of lasers in dentistry.

b)	List out the lasers suitable for the above application giving reasons.

7.	Give a detailed account of the safety regulations and precautions with reference to laser applications in medicine.

8.	Describe the biological changes at the cellular level, when exposed to a laser.

***	***	***

Code No.411102

Set No.

4

## IV/IV B.Tech. I-Semester Examination November 2002

## LASERS AND FIBER OPTICS IN MEDICINE

(Bio-Medical Engineering)

# Time: 3 hours						                      Max.Marks:80

Answer any Five questions

## All questions carry equal Marks

---

1.a)	Explain the generation of any one solid laser.

b)	List its medical applications.

2.	Explain the applications of endoscopes in gastroenterology.

3.	Explain the components and applications of a Bronchoscope.

4.	Describe a Co2 laser used in surgery.

5.	Enumerate the possible adverse reactions to laser treatment.

6.	Justify the use of lasers for treatment of skin disorders.

7.	Discuss the protective measures to be followed while using lasers in medicine.

8.	Write short notes on:

- Image transmission through an optical fiber

- Various laser calibration techniques

***	***	***