Code No. 410256

OR

IV/IV B.Tech. I-Semester Examination November, 2002.

# ENERGY MANAGEMENT

(common to Electrical and Electronics Engineering)

Time: 3 hours							   	        Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.  a)	Explain clearly the basic features an energy management program should have.

- Explain clearly the importance of Energy management and its effects.

2.  a)	What do you understand by “Energy Auditing”?

- Explain clearly the stages involved “Energy Auditing” of a residential complex.

3.	Discuss the various Energy Conservation methods to be employed in a major

industry. Bringout their relative merits & demerits.

4.  a)	Discuss the various factors of Energy saving in an industry.

- Discuss different methods of power factor improvement and their effect on Energy saving.

5.	What are the qualities & functions of an energy manager?  Give basic features of

a typical questionnaire to be employed.

6.  a)	Discuss the different methods of depreciation commonly employee.

- What are the energy management opportunities you suggest in a righting system?

7.  a)	Discuss clearly the components of checklist for top management for energy management.

- Explain clearly what you understand by Risk analysis.

8.	Write short notes on.

- Use of pie charts & sankey diagrams in Energy Audit.

- Energy efficient motors.

- Replacement Analysis.

@@@@