Code No.411055

OR

## IV/IV B.Tech. I-Semester Examination November 2002

## ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering-OR)

# Time: 3 hours						                      Max.Marks:70

Answer any Five questions

## All questions carry equal Marks

---

1.a)	With a diagram, describe the principle of conductivity meter. Mention its use.

- Describe the use of dissolved oxygen hydrogen analyzer, with its principle.

2.a)	Explain the term Sodium analyzer.

- What is thermal conductivity?  Explain its types.

3.a)	What is meant by H25 analyser system?  Explain its principle and use.

- Write a note on sampling.

4.a)	Explain the principle and applications of Gas chromatography.

- What is the principle of Oxygen analyzer?  Explain.

5.a)	Describe uv spectrophotometer with its instrumentation, sources and detectors.

- Write a note on atomic absorption spectro photometer.

6.a)	Discuss the sources and detectors for flame photometers.

- Explain the principle of mass spectrophotometers.  Mention its use.

7.a)	Explain the term:

i)  Solid state detectors	(ii)  GM counter

- Briefly discribe the NMR spectrophotometer.

8.	Write short notes on:

- Liquid chromatography

- PH meter

- Nuclear radiation

***	***	***