Code No. 411352

# OR

IV/IV B.Tech. I-Semester Examination November, 2002.

PROCESS CONTROL

(Electronics and Control Engineering)

Time: 3 hours							   	        Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Define ‘Time Constant’ of a system.  Write the expression for the time constant in terms of the process parameters of a liquid level system.

- A tank operating at 3 metre head and 0.022 cubic metre/min out flow through a valve, has a cross section area of 0.9 square metre.  Calculate the time constant.

- If this system known to have ‘time constant response’ requires 5 minutes to indicate 98% of the response, what can be the time constant?

2.a)	What do you mean by Optimum Controller Settings?

- Explain Ziegler-Nichols method for tuning of controllers.

3.a)	Name three important thermal elements whose outputs are in electrical form.

- Explain how they work.

4.	Show and explain the construction of a control action for electric heating in which the fraction of ‘time on’ of the load relay is proportional to the actuating signal in addition to the integral and derivative actions.

5.	Write short notes on the following: (a) Ratio Control  (b) Tuning of cascade controller.

6.a)	Define ‘Size Co-efficient’ of a valve.

- Size coefficient of a valve is a constant – Say ‘True’ or ‘False’.  Justify your answer.

- A fully open 2 inch size valve passes 100 gpm of water at a pressure differential of  7 PSI.  Calculate the size coefficient.

7.	Why is temperature stability considered as a major problem in a chemical reactor?  Explain by means of a heat balance equation.

8.	Write short notes on any TWO of the following:

  - Heat transfer in heat exchangers  (b) Relative Gain analysis.  (c) Barometric condensers.

- - -