Code No.411003

Set No.

## 1

IV/IV B.Tech (I Semester) Examination, Nov. 2002.

POWER PLANT INSTRUMENTATION

(Electronics Instrumentation Engineering

### Time: 3 Hrs.								Max. Marks: 80

Answer any Five questions

All question carry equal marks

- - -

1.a)	What is the basic difference between a Thermal power plant and a Nuclear power plant?

- Explain briefly the non-conventional power generation methods.

2.a)	List the important parameters that are to be measured in a thermal power plant.

- Mention the places where these measurements are to be made. Explain in detail.

3.a)	What is the result if excessive air is supplied to the furnace. How to identify the excessive air supply to the furnace.

- How the fuel efficiency is controlled in a furnace?

4.	How much temperature measurement points that a boiler generally contains? Describe in detail a system that monitors all these points.

5.a)	Mention the sources of vibration in a turbine. How the vibration is measured and controlled?

- Explain what happens if the turbine vibrations exceed the tolerance limits.

6.	Explain the necessity of cooling of generator. Describe the method of hydrogen coolent purity measurement in detail.

7.a)	What is necessity of pH and conductivity measurement for feed water?

- Describe a system for the measurement and control of conductivity of feed water.

8.	Write short notes on the following:

a)   Radiation Detectors      b)   Deaerator level control   c)  Computers in power plant    d)  Paramagnetic Oxygen analyzer.

- x -

Code No.411003

Set No.

## 2

IV/IV B.Tech (I Semester) Examination, Nov. 2002.

POWER PLANT INSTRUMENTATION

(Electronics Instrumentation Engineering

### Time: 3 Hrs.								Max. Marks: 80

Answer any Five questions

All question carry equal marks

- - -

1.a)	What is the basic principle involved in thermal power generation?

- Describe a thermal power station with the help of block diagram.

2.a)	Give a brief description of various stages in a hydro power generation scheme.

- List the principle instrumentation that is necessary for a hydro power generator.

3.	Explain the importance of frequency maintenance in power generation and how it is monitored? Explain in detail.

4.a)	What is the importance of fuel flow control to the furnace of  a boiler? Explain in detail?

- How the fuel flow is monitored in a coal based boiler?

5.	What type of control action is used in boiler feed water flow control? What are the various parameters are to be considered in this process?

6.a)	What is paramagnetism ? Explain in detail.

- How the paramagnetic characteristic of Oxygen is used in Wind type of paramagnetic analyser.

7.a)	What is the role of computers in a power plant instrumentation?

- Explain the advantages in using computers in turbine seam flow control and speed control.

8.	Give the block diagram of a chromatic system and explain in detail the functions of each and every block.

- x -

Code No.411003

Set No.

## 3

IV/IV B.Tech (I Semester) Examination, Nov. 2002.

POWER PLANT INSTRUMENTATION

(Electronics Instrumentation Engineering

### Time: 3 Hrs.								Max. Marks: 80

Answer any Five questions

All question carry equal marks

- - -

1.a)	What is the basic difference between a Hydro-Thermal power plant and a Solar Power System?

- Explain briefly the Nuclear power generation methods.

2.a)	Discuss the important details in a boiler processes .

- Explain PI diagram of boiler co-generation

3.a)	Explain the importance of Trivector meter in power generation.

- Explain the processes of measurement of smoke density.

4.	Explain in detail with neat sketches furnace draft control system used in power plants.

5.	Explain in detail with neat sketches excess air control system used in power plants?

6.a)	Discuss the role of lubricating oil temperature control in a power plant instrumentation?

- Explain the advantages in using hydrogen generator cooling system in turbine  control .

7.	What is a spectrum analyzer ? What are its applications ? Describe the principle and constructional details of a spectrum analyzer with a neat diagram.

8.a)	Explain the measurement of pH with Glass electrode.

- Write a brief notes on the sensing devices of pH meter.

- x -

Code No.411003

Set No.

## 4

IV/IV B.Tech (I Semester) Examination, Nov. 2002.

POWER PLANT INSTRUMENTATION

(Electronics Instrumentation Engineering

### Time: 3 Hrs.								Max. Marks: 80

Answer any Five questions

All question carry equal marks

- - -

1.a)	What is the basic principle involved in wind energy generation ? Explain.

- Describe a nuclear power station with the help of block diagram.

2.a)	Give a brief description of various stages in a hydro power generation scheme.

b)	Discuss the importance of  instrumentation for thermal power plants.

3.a)	What is the result if excessive air is supplied to the furnace. How to identify the excessive air supply to the furnace.

- How the fuel efficiency is controlled in a furnace?

4.	Explain in detail with neat sketches combustion control system used in power plants?

5.	Explain in detail with neat sketches main and reheat stream temperature control system used in power plants?

6.	Discuss exhaust pressure control and shell temperature control of a steam turbine .

7.	Describe with a neat schematic, the principle and constructional details of thermal conductivity type oxygen analyzer.

8.a)	Write  a  brief notes on hydrogen purity meter.

- Write short notes on conductivity cell.

- x -