Code No. 411152

# OR

IV/IV B.Tech. I-Semester Examination November, 2002.

BIO-MEDICAL EQUIPMENT - II

(Bio-Medical Engineering)

Time: 3 hours							   	        Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Give a schematic of ultrasound for imaging the feutus?

- What are the merits (advantages) of ultrasound imaging over that of CT imaging. (note: make a comparative study).

2.a)	Drawing a schematic explain the process of Bone conduction.

- What do you mean by masking and how this technique is used in Audiometry.

3.a)	Make a comparison of any two types of microphones by drawing their schematics.

- What is an Retinoscope.  Explain.

4.a)	What are the materials used for the Artificial Heart Valves?  Why?]

- Explain under what conditions corrosion takes place due to the presence of an Artificial organ.

5.a)	With proper illustration give the schematic for an Artificial hand.

- Explain how an Artificial Limb helps in the rehabilitation of a person.

6.a)	When do we say that a certain heart valve is discand. Explain.

- What is the Bio compatibility to do with prosthetic heart valves?

7.a)	Explain in detail the Electronic Control and monitoring systems with regard to Artificial Kidney.

- Give the Block diagram of any one type of gas exchangers.

8.a)	What is an Pneumatic Artificial Larynx.  Give the schematic and explain.

- Make a comparision of Pneumatic and electronic artificial kidneys.

- - -