Code No.410206

Set No.

1

IV/IV B.Tech  I Semester Examination Nov., 2002

NON-CONVENTIONAL ENERGY SOURCES

(Electrical and Electronics Engineering)

Time: 3 hrs.								     Max. Marks:80

Answer any Five questions

All questions carry equal marks

---

- a)  List out various non-Conventional Sources of energy

b)  Briefly explain the advantages of renewable sources of energy

- Classify tidal power plants in detail

- Describe the main considerations in selecting site for wind generators.

- Explain with neat sketch construction and working of wind mill for water pumping.

- Explain clearly the Beam and diffuse radiation.

- Discuss in detail about the following:

  - Sunshine recorder

  - Solar radiation on tilted surfaces.

- What is meant by anaerobic digestion?  What are the factors, which affect biodigestion?  Explain briefly?

- How the gasifiers classified?  Explain briefly about Fluidised Bed Gasifiers?

--------

Code No.410206

Set No.

2

IV/IV B.Tech  I Semester Examination Nov., 2002

NON-CONVENTIONAL ENERGY SOURCES

(Electrical and Electronics Engineering)

Time: 3 hrs.								     Max. Marks:80

Answer any Five questions

All questions carry equal marks

---

- a)  What do you mean by renewable energy sources?

  - Explain various sources of energy briefly?

- Explain simple single pool tidal system with neat diagrams

- Describe in detail the basic components of wind electric system.

- Explain the operation and control of horizontal axis wind turbine generator unit with neat sketch.

- Discuss in detail about solar radiation geometry.

- Derive the necessary equations for thermal analysis of flat plate collector and useful heat gained by the fluid.

- Explain the origin of Bio-mass energy in detail.  Explain the difference between bio mass energy resources and fossil fuel.

- Explain briefly the advantages and disadvantages of Geothermal energy forms?

---------

Code No.410206

Set No.

3

IV/IV B.Tech  I Semester Examination Nov., 2002

NON-CONVENTIONAL ENERGY SOURCES

(Electrical and Electronics Engineering)

Time: 3 hrs.								     Max. Marks:80

Answer any Five questions

All questions carry equal marks

---

- Briefly explain the following :

  - Energy Planning

  - Energy Efficiency

- How energy is obtained from oceans?  Explain in detail.

- a)  Explain planetary winds and local winds.

- Derive an expression for power available in wind.

- a)  Neatly draw different types of rotor for vertical axis wind machine.

- Explain power-velocity characteristics of wind turbine.

- Explain the following :

  - Eppley pyranometer

  - Solar radiation data

- Explain in detail about the different approaches of thermal electric conversion system from solar energy.

- How are biogas plants classified?  Explain continuous and batch type plants.

- Explain the main applications of Geothermal energy?

----------

Code No.410206

Set No.

4

IV/IV B.Tech  I Semester Examination Nov., 2002

NON-CONVENTIONAL ENERGY SOURCES

(Electrical and Electronics Engineering)

Time: 3 hrs.								     Max. Marks:80

Answer any Five questions

All questions carry equal marks

---

- a)  What are ultimate energy sources?

  - What are the differences between renewable and conventional energy sources.

- Explain various devices for tidal energy extraction.

- Explain with neat sketch working of a vertical axis windmill.  Explain different components.

- a)  What are the latest developments in wind generated electrical plants?

  - Explain the variation of power coefficient with tip speed ratio.

- What is pyrheliometer?  With neat sketch, explain about the method of measuring solar radiation using Angstrom compensation pyrheliometer.

- Explaining all necessary features, formulate the expression for calculating temperature distribution and collection efficiency of a solar pond.

- Explain in detail the various principal routes of Bio mass energy conversion to useful energy?

- Describe the principle of total flow concept.  Compare it with other system.

----------