# Code.No.411153

# OR

IV/IV B.Tech. Examination November 2002

MEDICAL IMAGING TECHNIQUES

(Bio Medical  Engineering)

time: 3 hours								Max.Marks:70

Answer any Five questions

All questions carry equal Marks

---

1.a)	Indicate the important sources of image noise in X ray imaging system.

b)	Bring out the importance of the parameter ‘receiver operating curve’ (ROC), in determining the diagnostic value of a system.

- Explain the significance of the following terms in x ray images.

i)  Line spread function	(ii)  System transfer function

d)	Diagnostic X ray exposure to long term in effects.  What are they?  Mention the maximum allowable dose per person per year.

2.a)	Bring out the differences between conventional radiography and digital radiography. What are the limitations of digital radiography?

- Explain the working of  Mayo clinic dynamic spatial reconstructor.

- Bring out the importance of the following characteristics in the X ray image.

i)  Spatial resolution		(ii)  Noise	(iii)  Contrast

3.a)	What are piezoelectric polymers?  Explain the properties and advantages of piezoelectric polymers over the conventional ultrasound transducers.

- Explain the working of B mode ultrasound scanners with a block diagram. How are real time B scanners different from static B mode scanners?

4.a)	Explain the working of M mode ultrasound system.  Specify two areas in which this modality is very useful.

- Explain the electronic processing unit in gamma camera.

5.	Bring out the difference between

- Reconstruction of X ray and SPECT techniques.

- What is the extra information provided by PET when compared to the other radio nuclide methods?  Explain.

6.a)	Explain the principle behind the reconstruction of image in single photon emission tomography.

b)	Bring out the differences between X ray CT and SPECT. What is the advantage of SPECT over conventional nuclear medicine imaging?

(contd…2)

Code.No.411153				-2-				OR

7.a)	Explain the following terms with reference to MRI:

i)  Angular momentum	(ii)  Magnetic dipole moment

b)	Explain the process of gradient echo imaging in MRI.

c)	Draw the functional schematic of MRI scanner showing its subsystems. Describe briefly the function of each sub system.

8.	Write short notes on the following:

- Biological effects of ultrasound

- Spectral reduction in ultrasound

- Mammography and Xeroradiography

- 3D reconstruction methods applied to X rays.

***	***	***