# Code.No.410254

# OR

IV/IV B.Tech. Examination November 2002

INSTRUMENTATION

(Electrical and Electronics  Engineering)

time: 3 hours								Max.Marks:70

Answer any Five questions

All questions carry equal Marks

---

1.a)	Explain classification of transducers?

- Explain the general performance of systems?

2.a)	Explain construction and operation of vector impedance meter.

- Describe photo diode and phototransistor and their applications.

3.a)	Explain capacitance method of liquid level measurement.

- Explain flow measurement using electromagnetic sensors.

4.a)	Describe the various standards of measurement.

- Draw the block diagram of a storage oscilloscope and explain its working.

5.a)	Explain strain gauge and gauge sensitivity.

- Explain angular velocity measurement by digital method.

6.a)	Explain  measurement of pressure.

- Explain dynamic compensation.

7.a)	Explain construction and operation of spectrum analysers.

- Distinguish between various types of voltmeters.

8.	Write notes on:

- LVDT

- Synclon

***	***	***