# Code.No.410255

# OR

IV/IV B.Tech. I-Semester Examination November 2002

HIGH VOLTAGE ENGINEERING

(Electrical and Electronics Engineering)

time: 3 hours								Max.Marks:70

Answer any Five questions

All questions carry equal Marks

---

1.a)	Describe the various factors that influence breakdown in a gas?

- Describe the current growth phenomenon in a gas subjected to uniform electric fields?

2.a)	Explain the various theories that explain breakdown in commercial liquid dielectrics?

b)	Explain the phenomena of electrical conduction in liquids.  How does it differ from that in gases?

3.a)	Why is a cock croft-walton circuit preferred for voltage multiplier circuits?  Explain its working with a schematic diagram?

b)	Explain the different schemes for cascade connection of transformers for producing very high A.C. voltages?

4.a)	Give different circuits that produce impulse waves explaining clearly their relative merits and demerits?

b)	How are rectangular current pulses generated for testing purposes?  How is their time duration controlled?

5.a)	Discuss the different methods of measuring high d.c voltages.  What are the limitations in each method?

b)	Explain how a sphere gap can be used to measure the peak values of voltages.  What are the parameters and factors that influence such voltage measurement?

6.	Explain the different methods of high current measurements with their relative merits and demerits?

7.a)	What is the significance of impulse tests?  Briefly explain the impulse testing of insulators?

- Explain the partial discharge tests on high voltage cables?

(contd…2)

# Code.No.410255				-2-				OR

8.	Write any Two of the following:

- How do the temperature and moisture affect the break down strength of solid dielectrics?

- Describe the generating Volt meter used for measuring high d.c. voltages.  How does  it compare with a potential divider for measuring high D.C voltages?

- Explain one method of controlled tripping of impulse generators.  Why is controlled tripping necessary?

- What is stressed oil volume theory and does it explain break down in large volumes of commercial liquid dielectrics?

***	***	***